Kenya Electricity Sector’s Key Companies and Tariff Overview

Executive Summary

This brief report overviews Kenya’s electricity utility sector’s key companies and tariff structures. The national distributor, Kenya Power and Lighting Company (KPLC), manages electricity retail, billing systems, and metering services. Independent power producers supply generation capacity under contracts regulated by the Energy and Petroleum Regulatory Authority (EPRA). Retail tariffs are standardized by EPRA, with customer categories covering domestic, commercial, and industrial users. Contact details for KPLC and some power producers are included.

Introduction

The electricity sector in Kenya operates under a regulated framework overseen by EPRA. The Kenya Power and Lighting Company (KPLC) is responsible for electricity distribution and retail supply across the country, while generation is undertaken by a mix of state-owned entities and independent power producers (IPPs). However, contact details for many of the key players, particularly private producers, remain limited in the public domain. Tariff structures for these entities are standardized and approved by EPRA to ensure uniform pricing across customer categories.

Kenya Power and Lighting Company (KPLC)

Phone: +254 703 070 707

Email: customercare@kplc.co.ke

Website: https://kplc.co.ke/faq/tariff

Kenya Power is the national electricity distributor, responsible for transmitting, distributing, and retailing power across the country. The company purchases electricity in bulk from public and private generators and supplies more than 9.6 million customers, including households, businesses, and industries. Tariffs are regulated by the Energy and Petroleum Regulatory Authority (EPRA), which conducts a full tariff review every three years. In addition, monthly adjustments are applied to reflect fuel costs, foreign exchange movements, and other variables. These adjustments are published in the Kenya Gazette and directly influence consumer bills.

Table 1: Current tariff schedule (effective July 2025)

| Tariff Category | Energy Charge (KES/kWh) | Demand Charge (KES/kVA) |
| --- | --- | --- |
| DC (Domestic – Lifeline, 0–30 kWh, 240 V) | 12.14 | n/a |
| DC1 (Domestic, 31–100 kWh, 240 V) | 16.5 | n/a |
| DC2 (Domestic >100 kWh, 240 V, includes IT for water heating) | 18.57 | n/a |
| SC1 (Small Commercial, ≤30 kWh, 240 V) | 12.28 | n/a |
| SC2 (Small Commercial, 31–100 kWh, 240 V) | 16.3 | n/a |
| SC3 (Small Commercial >100 kWh, 240 V) | Regular: 19.00 / TOU: 9.50 | n/a |
| CI1 (Commercial, 415 V) | Regular: 13.44 / TOU: 6.72 | 1,100 |
| CI2 (Commercial, 11 kV) | Regular: 12.16 / TOU: 6.08 | 700 |
| CI3 (Commercial, 33 kV) | Regular: 11.68 / TOU: 5.84 | 370 |
| CI4 (Commercial, 66 kV) | Regular: 11.42 / TOU: 5.71 | 300 |
| CI5 (Commercial, 132 kV) | Regular: 11.16 / TOU: 5.58 | 300 |
| CI6 (Commercial, large users) / CI7 (Special Economic Zone) | Regular: 10.00 / TOU: 7.42 | 200 |

Notes: TOU = Time-of-Use tariff offering lower rates during off-peak hours

Surcharges Applied to All Tariffs

- Fuel Cost Charge (FCC): Variable per kWh, adjusted monthly in the Kenya Gazette to reflect the cost of fuel used for generation in the previous month.

- Foreign Exchange Rate Fluctuation Adjustment (FERFA): Variable per kWh, adjusted monthly to cover foreign currency costs incurred by KenGen, KPLC, and Independent Power Producers.

- Inflation Adjustment (IA): Variable per kWh, reviewed periodically in line with the Kenya CPI and US CPI-U.

- WARMA Levy: Variable per kWh, calculated monthly based on hydro energy supplied in the preceding month.

- ERC Levy: Fixed at KES 0.08 per kWh.

- REP Levy: 5% of the base energy charge (fixed percentage).

- Power Factor Surcharge: Applied monthly if the consumer’s power factor is below 0.9 (2% surcharge for every 1% drop).

- VAT: 16% applied monthly on demand charge, fuel cost charge, and non-fuel energy cost.

Companies Supplying to the National Electricity GRID

KPLC does not generate the power it distributes but purchases electricity in bulk from a range of power producers operating across the country. These companies contribute to national generation capacity through thermal, hydro, wind, and geothermal projects. Table 2 below presents an overview of key licensed suppliers, including their generation technologies, installed capacities, and available contact details. KenGen is the largest electricity generator/ supplier to KPLC.

Table 2: Independent power producers supplying to the national grid

| Licensee | Technology | Capacity (MW) | Website | Phone Number | Email Address |
| --- | --- | --- | --- | --- | --- |
| Nithi Hydro Power Limited | Hydro | 5.6 | N/A | N/A | N/A |
| Tsavo Power | Thermal | 74 | N/A | N/A | tsavopower@tsavopower.com |
| Orpower4 | Geothermal | 150 | N/A (Ormat subsidiary) | +2545050664 | N/A |
| Iberafrica | Thermal | 53.4 | iberafrica.co.ke | +254 722 205 389 | info@iberafrica.co.ke |
| Kenya Electricity Generating Company Plc (KenGen) | Hydro, Geothermal, Thermal, Wind, GT | >1700) | kengen.co.ke | +254 711 036 000 | info@kengen.co.ke |
| Mumias Sugar | Cogeneration (Bagasse) | 38 | N/A (Currently under receivership) | N/A | N/A |
| Rabai Power | Thermal | 90 | rabaipower.com | +254 41 2013806 | info@rabaipower.com |
| Bidco | Biothermal | 2.1 | N/A (Likely contact via Bidco Africa) | +25467282100 (General phone number) | happy@bidcoafrica.com (general BIDCO email) |
| Triumph | Thermal | 83 | N/A | +254206554301 | N/A |
| Gulfpower Ltd | Thermal | 80 | https://gulfenergy.co.ke/contact | +25420 2725334/ 5; +2542729029 / 30 | Info@gulfenergy.co.ke |
| Thika Power | Thermal | 87 | thikapower.co.ke | +254 115565418 | info@thikapower.co.ke |
| Cummins | Biomass | 8.4 | http://www.cumminscogen.com/ | + 254202463787 | N/A |
| Regenterem | Hydro | 5.2 | N/A | +254792975391 | N/A |
| Qpea Menengai | Geothermal | 35 | N/A | N/A | N/A |
| Sosian-Menengai | Geothermal | 35 | www.sosianenergy.com | +254722202475 | info@sosianenergy.com |
| Tindinyo Falls Resort Limited | Hydro | 2.5 | N/A | N/A | N/A |
| Mt Kenya Power | Hydro | 0.6 | N/A | N/A | N/A |
| Orpower 22 | Geothermal | 350 | N/A (Likely affiliated with Orpower4/Ormat) | +254725420888 | ernest.mabwa@orpwer.com |
| Kleen Energy | Hydro | 6 | https://www.kleenenergykenya.com/ | +254736 511596 | N/A |
| Kipeto Energy Limited | Wind | 100 | kipetoenergy.co.ke | +254 701177541 | info@kipetoenergy.co.ke |
| Ol-Ndanyat Power Ltd | Wind | 30 | N/A | N/A | guru@gururajankenya.com |
| Amu Power | Coal | 1050 | N/A (Project currently suspended) | 25420 2725334 | N/A |
| Alten Energy | Solar | 40 | alten-energy.com | +31615455662; +34915630990 | info@alten-energy.com |
| Radiant Energy Kesses | Solar | 40 | www.radiantenergy.africa | +27(0)100095343 | info@radiantenergy.africa |
| Eldosol Energy | Solar | 40 | N/A | +45334133 44 | N/A |
| Strathmore University | Solar | 0.6 | serc.strathmore.edu | +254 703 034 000 | serc@strathmore.edu |
| Malindi Solar | Solar | 40 | N/A (Refer to Globeleq/BII) | +254 703 260 061/ | N/A |
| Homabay Biogas One | Biogas | 8 | N/A | N/A | N/A |
| Hydro Project Services Peters Ltd | Hydro | 0.5 | N/A | N/A | N/A |
| Chania Green Generation Ltd | Wind | 50 | N/A | N/A | N/A |
| Oserian Naivasha Development Co.Ltd | Solar | 1 | www.oserian.com | +2540202139326 | info@oserian.com |
| Kopere Solar Park Limited | Solar | 40 | N/A | N/A | N/A |
| Hannan Arya Energy (K) Limited | Solar | 10 | N/A | N/A | N/A |
| Marco Borero Company Ltd | Solar | 1.5 | N/A | N/A | N/A |
| Rareh Icon Solar Limited | Solar | 30 | N/A | N/A | N/A |
| Rumuruti Solar Generation Limited | Solar | 40 | N/A | N/A | N/A |
| Aperture Green Power Company Limited | Wind | 50 | N/A | N/A | N/A |
| Isiolo Project Limited | Solar PV | 40 | N/A | N/A | N/A |

Mini-Grid and Off-Grid Electricity Providers in Kenya

In addition to KPLC and independent power producers, several smaller firms operate under licenses to supply electricity directly to communities through mini grids or isolated systems. Table 3 lists key licensed fringe companies, their locations, installed capacities, and the type of customers they serve.

Table 3: Licensed mini-grid and off-grid electricity providers in Kenya

| Licensee | Technology | Location | County | Capacity (MW) | Supply To |
| --- | --- | --- | --- | --- | --- |
| Powerhive | Solar PV | Kisii and Nyamira Counties | Kisii & Nyamira | 3 | Public |
| Talek Power Company Ltd | Solar PV–Diesel Hybrid | Talek | Narok | 0.05 | Public |
| Kudura Power East Africa Ltd | Solar PV | Busia | Busia | 0.294 (Cumulative across multiple locations) | Mini Grid |
| Renewvia Energy Kenya Ltd | Solar PV | Kalobeyei Resident Town | Turkana | 0.0 | Mini Grid |
| Renewvia Energy Kenya Ltd | Solar PV | Kalobeyei Settlement Village I | Turkana | 0.06 | Mini Grid |
| Renewvia Energy Kenya Ltd | Solar PV | Ringiti Island | Siaya | 0.02 | Mini Grid |
| Renewvia Energy Kenya Ltd | Solar PV | Ndeda Island | Siaya | 0.02 | Mini Grid |
| Renewvia Energy Kenya Ltd | Solar PV | Oyamo Island | Siaya | 0.012 | Mini Grid |
| SES Microgrids Kenya Ltd | Solar PV | Hurri Hills | Marsabit | 0.02 | Mini Grid |
| Nal Offgrid Ltd | Solar PV | Lolupe | Turkana | 0.02 | Mini Grid |
| Nal Offgrid Ltd | Solar PV | Longech | Turkana | 0.05 | Mini Grid |
| Sotik Highlands Tea Estate Ltd | Diesel | Sotik | Nyamira | 1.424 | Mini Grid |
| Sotik Tea Company Ltd | Diesel | Sotik | Bomet | 1.98 | Mini Grid |
| Tilisi |  |  |  |  |  |

Tariff Summary

EPRA regulates the tariff system for companies supplying electricity to the national grid in Kenya. The most recent tariff adjustments were published in January 2022.

1. Retail Tariffs

- These tariffs are applied to end-users for electricity supplied through the distribution network.

- They are periodically reviewed and set by EPRA to cover operational costs, fair returns, and promote efficiency.

- The January 2022 tariffs reflect a 15% reduction from previous rates, making electricity more affordable for consumers.

2. Renewable Energy Tariffs (Feed-in Tariffs - FiT)

- Kenya's FiT policies incentivize renewable energy production by offering technology-specific tariffs, which are designed to promote investment:

- Small Hydro (0–5 MW): USD 0.09 per kWh

- Small Hydro (10–20 MW): USD 0.076 per kWh

- Biomass and Biogas (up to 20 MW): USD 0.095 per kWh

- Wind: USD 0.597 per kWh

- Solar PV: USD 0.575 per kWh

- Large Hydro (>20 MW): USD 0.056 per kWh

- Biomass/Biogas (>20 MW): USD 0.084 per kWh

These tariffs are intended to support the development of renewable projects and align with Kenya’s goal of generating 100% clean energy by 2030.

3. Transmission and Distribution Tariffs

- Transmission tariffs are set and regulated by EPRA, which approves power purchase agreements (PPAs) and wheeling charges.

- Distribution tariffs include charges for electricity service to consumers, incorporating infrastructure, maintenance, and reliability costs.

- These tariffs are designed to ensure the operation of a reliable and efficient grid while providing fair returns to network operators.

4. Off-grid Tariffs

- EPRA publishes tariffs for off-grid projects such as solar home systems and mini-grids.

- These are region-specific and technology-dependent, aimed at increasing energy access in remote areas at affordable rates.

5. Bulk Supply and Wholesale Tariffs

- Tariffs for large-scale electricity supply from generators to distribution companies (power purchase agreements) are approved by EPRA.

- These tariffs seek to balance the needs of generators for fair returns and consumers for affordable prices.

6. Wheeling and Use-of-System Charges

- These charges are imposed for transmitting electricity across the transmission and distribution networks.

- Regulated by EPRA, these charges are essential for open access arrangements, ensuring non-discriminatory and transparent access for all licensees and consumers.

References:

https://www.epra.go.ke/sites/default/files/Documents/Power-Undertaking-Register-February-2022-00000002.pdf

https://www.kplc.co.ke/storage/01J1ATVMZTY698754FJ9RHKH8H.pdf

https://www.epra.go.ke/legal/web/uploads/686e7087ef692_THE%20DRAFT%20ENERGY%20(ELECTRICITY%20TARIFF%20)%20REGULATIONS,%202023.pdf

https://www.stimatracker.com/